| Company name: |  | FAO: |  |  |
| --- | --- | --- | --- | --- |
| Project name: |  | Project number: |  |  |
| Project address: |  | Required delivery date (dd/mm/yy): |  |  |
| Delivery address: |  |  |  |  |
|  | Site unloading facilities available Tail lift required HIAB lifting arm required Unloading Porterage required |  |  |  |
|  | Lift installation / fitting service required Lift testing required |  |  |  |
| Consultant | Name: |  |  |  |

Hydraulic lift, 400Kg, 0.15m/s

Items marked  are provided as standard

| Mains power available | 1x 240vac + Neutral wire , 16A 3φ x 415v only+ neutral wire , 9A Other: _______ |
| --- | --- |
| Acesss | Private lift Public access lift |
|  | EN81-70: Yes No |
| Lift data | Number of floors: Characters available: -1,B,0,G,1,2,3,4, Floor designation: , , , , Single characters only Total travel: [mm] Rated load: [Kg] (max. 400Kg) Number of passengers: Rated speed: [m/s] Number of starts per hour: Short floors: |

When completed, please submit by email or fax to 01937572299

Phone: 0870 609 3570  FAX: 01937 572 299  E-mail: info@talinor.co.uk

This form can be downloaded from our website www.talinor.co.uk

D; D pit mm; D1 mm; D2 mm; D3 mm; D headroom mm. F; m. A; m.

| Shaft data | Shaft: Brick shaft Concrete shaft Metal structure shaft Shaft to be supplied with the lift Shaft Dimensions: Shaft dimensions [WxD]: x [mm] Headroom: [mm] Pit: [mm] Landing Doors: Number of landing doors: (Entrances). Clear opening: x mm Left / Right slamming (as viewed from the landing) Automatic landing doors 2 1 Manual swing (hinged) landing doors: 1 with a viewing window 2 with big window (big vision) Fire rated landing doors E120 Landing Doors finish: RAL7032 Stainless steel Glass Landing operating panels LOP: Landing operating panels mounted on landing architraves Landing Architraves: Stainless steel RAL7032 Shaft lighting: Shaft lighting system |
| --- | --- |

CAR OPTIONS

A     B       C      D      E       F     G

3

2

2

1

1

1

1

1

1

2

1

A

2

F

E

D

B

C

G

| Car data | Car internal dimensions [WxDxH]: x x [mm]. Car Doors: No car door Manual shutter gate Busmatic doors Automatic, side opening. Automatic, centre opening Car doors finish: RAL no. Stainless steel Glass Car interiors: Stainless steel Laminate: (mark colour on page 6) RAL no: Hand rail Mirror (half size) Car ventilator Car Telephone : Wall hanging telephone set COP mounted telephone (recessed telelephone with keypad) Autodialer Speech unit Iduction loop Intercom machine room to car Door opening at the landings: Door 1; Door 2; Door 3. Floor 1. Floor 2. Floor 3. Floor 4. Braille pushes Green rim for main landing car push |
| --- | --- |

| Machine-room data | Lift machine room: Oil heater required (when ambient temperature is likely to drop below 5 ºC) Control panel door hinged on the left right Oil collector beneath the power unit required Cabinet (1600Hx700Wx450D) for power unit and control panel required Bottom Machine room Top Machine room |
| --- | --- |
| Fire recall | Fire recall with a switch at the fire recall floor. Automatic fire recall initiated by the building’s fire alarm system. Fire recall floor: |
| Emergency | Emergency automatic car door(s) opening Lift operative, for down calls only, during power outage |
| General | Test hand set required (for travelling during installation mode) The piston to be supplied in two pieces |

| Choose Floor Option | Chequer Alu. Black Rubber Stone Rubber Grey Rubber Biege Rubber White Silestone Stellar Silestone Minerva Silestone Grey Silestone Black Silestone |
| --- | --- |

| Choose Ceiling Option | LED lamps |
| --- | --- |

| Choose Interior Colour | Biege Grey Blue Beech Oak Apple Orange Red Cherry Walnut |
| --- | --- |

Choose LOP Option

Main landing LOP

Intermediate landing LOP

LOP2

LOP1

LOP4

LOP3

Scaefer RT42 buttons

Landing disable key

switch

INUSE

IN USE

COP

Schaefer RT42 buttons

Overload indicator

Car calls disable key switch